**SystemServicer:**

SystemServicer\_SetPumpAddress(pump)

SystemServicer\_SetLanguage(pump,value)

SystemServicer\_GetLanguage(pump)

SystemServicer\_GetPumpStatus(pump)

SystemServicer\_GetVersionType(pump)

SystemServicer\_CurrentVersionSoftware(pump)

SystemServicer\_GetSerialNumber(pump)

SystemServicer\_SetChannelAddressing(pump,value)

SystemServicer\_GetChannelAddressing(pump)

SystemServicer\_SetEventMessages(pump,value)

SystemServicer\_GetEventMessages(pump)

SystemServicer\_GetSerialProtocol(pump)

SystemServicer\_SetPumpName(pump,value)

SystemServicer\_GetChannelNumber(channel)

SystemServicer\_SetChannelNumber(channel,value)

SystemServicer\_GetRevolutions(channel)

SystemServicer\_GetChannelTotalVolume(channel)

SystemServicer\_GetTotalTime(channel)

SystemServicer\_GetHeadModel(pump)

SystemServicer\_SetHeadModel(pump,value)

SystemServicer\_SetUserInterface(pump)

SystemServicer\_SetDisableInterface(channel)

SystemServicer\_SetDisplayNumbers(channel,value)

SystemServicer\_SetDisplayLetters(channel,value)

SystemServicer\_GetTimeSetting(channel)

SystemServicer\_SetTimeSetting(channel,value)

SystemServicer\_SetRunTimeM(channel,value)

SystemServicer\_SetRunTimeH(channel,value)

SystemServicer\_GetRollerStepsLow(channel)

SystemServicer\_SetRollerStepsLow(channel,value)

SystemServicer\_GetRollerStepsHigh(channel)

SystemServicer\_SetRollerStepsHigh(channel,value)

SystemServicer\_GetRSV(channel)

SystemServicer\_SetRSV(channel,value)

SystemServicer\_SetRSVReset(pump)

SystemServicer\_ResetRSVTable(pump)

SystemServicer\_SetNonFactoryRSV(channel,rollers,tubingID,value)

SystemServicer\_GetPauseTime(channel)

SystemServicer\_SetPauseTime(channel,value)

SystemServicer\_SetPauseTimeM(channel,value)

SystemServicer\_SetPauseTimeH(channel,value)

SystemServicer\_GetTotalVolume(channel)

SystemServicer\_SaveSettings(pump)

SystemServicer\_SaveSetRoller(pump)

SystemServicer\_GetFootSwitchStatus(pump)

SystemServicer\_SetRollersNumber(channel,value)

SystemServicer\_GetRollersNumber(channel)

SystemServicer\_SetPumpSerialNumber(pump,value)

**DriveControlServicer:**

DriveControlServicer\_Start(channel)

DriveControlServicer\_GetPumpDirection(channel)

DriveControlServicer\_Stop(channel)

DriveControlServicer\_SetDirectionClockwise(channel)

DriveControlServicer\_SetDirectionCounterClockwise(channel)

DriveControlServicer\_GetCauseResponse(channel)

**ParameterControlServicer:**

ParameterControlServicer\_SetFlowRate(channel,value)

ParameterControlServicer\_SetRPMMode(channel)

ParameterControlServicer\_SetFlowRateMode(channel)

ParameterControlServicer\_SetVolumeRateMode(channel)

ParameterControlServicer\_SetVolumeTimeMode(channel)

ParameterControlServicer\_SetVolumePauseMode(channel)

ParameterControlServicer\_SetTimeMode(channel)

ParameterControlServicer\_SetTimePauseMode(channel)

ParameterControlServicer\_SetVolume(channel,value)

ParameterControlServicer\_GetFlowRate(channel)

ParameterControlServicer\_GetMode(channel)

ParameterControlServicer\_GetVolume(channel)

ParameterControlServicer\_GetMaximumFlowRate(channel)

ParameterControlServicer\_GetMaximumFlowRateWithCalibration(channel)

ParameterControlServicer\_GetSpeedSettingRPM(channel)

ParameterControlServicer\_SetSpeedSettingRPM(channel,value)

ParameterControlServicer\_SetCurrentRunTime(channel,value)

ParameterControlServicer\_GetCurrentRunTime(channel)

ParameterControlServicer\_SetPumpingPauseTime(channel,value)

ParameterControlServicer\_GetPumpingPauseTime(channel)

ParameterControlServicer\_GetCycleCount(channel)

ParameterControlServicer\_SetCycleCount(channel,value)

ParameterControlServicer\_GetDispenseTimeMlMin(channel,volume,flowrate)

ParameterControlServicer\_GetDispenseTimeRPM(channel,volume,RPM)

ParameterControlServicer\_GetFlowRateAtModes(channel)

ParameterControlServicer\_SetFlowRateAtModes(channel,RPM)

**CalibrationServicer:**

CalibrationServicer\_StartCalibration(channel)

CalibrationServicer\_CancelCalibration(channel)

CalibrationServicer\_SetTargetVolume(channel,value)

CalibrationServicer\_SetActualVolume(channel,value)

CalibrationServicer\_GetTargetVolume(channel)

CalibrationServicer\_SetDirectionCalibration(channel,K/J)

CalibrationServicer\_GetDirectionCalibration(channel)

CalibrationServicer\_SetCalibrationTime(channel,value)

CalibrationServicer\_GetCalibrationTime(channel)

CalibrationServicer\_GetRunTimeCalibration(channel)

**ConfigurationServicer:**

ConfigurationServicer\_SetTubingDiameter(channel,value)

ConfigurationServicer\_ResetToDefault(channel,value)

ConfigurationServicer\_GetTubingDiameter(channel)

ConfigurationServicer\_SetBacksteps(channel,value)

ConfigurationServicer\_GetBacksteps(channel)